## Slide 1: Nuclear Properties 11
Terrestrial distribution of U
Biological effects

## Slide 11
the roentgen has the disadvantage that it is only a measure of air ionisation, and not a direct measure of radiation absorption in other materials, such as different forms of human tissue. For instance, one roentgen deposits 0.00877 grays (0.877 rads) of absorbed dose in dry air, or 0.0096 Gy (0.96 rad) in soft tissue.[2] One roentgen of X-rays may deposit anywhere from 0.01 to 0.04 Gy (1.0 to 4.0 rad) in bone depending on the beam energy.
As the science of radiation dosimetry developed, it was realised that the ionising effect, and hence tissue damage, was linked to the energy absorbed, not just radiation exposure. Consequently new radiometric units for radiation protection were defined which took this into account. In 1953 the International Commission on Radiation Units and Measurements (ICRU) recommended the rad, equal to 100 erg/g, as the unit of measure of the new radiation quantity absorbed dose. The rad was expressed in coherent cgs units.[4] In 1975 the unit gray was named as the SI unit of absorbed dose. One gray is equal to 1 J/kg (i.e. 100 rad). Additionally, a new quantity, kerma, was defined for air ionisation as the exposure for instrument calibration, and from this the absorbed dose can be calculated using known coefficients for specific target materials. Today, for radiation protection, the modern units, absorbed dose for energy absorption and the equivalent dose (sievert) for stochastic effect, are overwhelmingly used, and the roentgen is rarely used.

## Slide 12
The Röntgen equivalent physical or rep (symbol rep) is a legacy unit of absorbed dose first introduced by Herbert Parker in 1945 to replace an improper application of the roentgen unit to biological tissue.[1] It is the absorbed energetic dose before the biological efficiency of the radiation is factored in. The rep has variously been defined as 83 or 93 ergs per gram of tissue (8.3/9.3 mGy)[2] or per cm3 of tissue.[3]
At the time, this was thought to be the amount of energy deposited by 1 roentgen.[4] Improved measurements have since found that one roentgen of air kerma deposits 8.77 mGy in dry air, or 9.6 mGy in soft tissue, but the rep was defined as a fixed number of ergs per unit gram.[5]

## Slide 13
the relative biological effectiveness (often abbreviated as RBE) is the ratio of biological effectiveness of one type of ionizing radiation relative to another, given the same amount of absorbed energy. The RBE is an empirical value that varies depending on the type of ionizing radiation, the energies involved, the biological effects being considered such as cell death, and the oxygen tension of the tissues or so-called oxygen effect.
Radiation | Energy WR (formerly Q)
x-rays, gamma rays, beta particles, muons | 1
neutrons (< 1 MeV) | 2.5 + 18.2e-[ln(E)]2/6
neutrons (1 - 50 MeV) | 5.0 + 17.0e-[ln(2E)]2/6
neutrons (> 50 MeV) | 2.5 + 3.25e-[ln(0.04E)]2/6
protons, charged pions | 2
alpha particles, nuclear fission products, heavy nuclei | 20

## Slide 14
Single Dose (Gy)x |  | Fractionated Dose (Gy) | 
Ovary | 2–6 | Testes | 1–2
Bone marrow | 2–10 | Ovary | 6–10
Testes | 2–10 | Eye (lens) | 6–12
Eye (lens) | 2–10 | Kidney | 20–30
Mucosa | 5–20 | Thyroid | 20–40
Gastrointestinal | 5–10 | Lung | 23–28
Lung | 7–10 | Skin | 30–40
Colorectal | 10–20 | Liver | 35–40
Kidney | 10–20 | Bone marrow | 40–50
Vasculoconnective tissue | 10–20 | Heart | 43–50
Liver | 15–20 | Gastrointestinal | 50–55
Skin | 15–20 | Vasculoconnective tissue | 50–60
Peripheral nerve | 15–20 | Spinal cord | 50–60
Spinal cord | 15–20 | Brain | 55–70
Brain | 15–25 | Peripheral nerve | 65–77
Heart | 18–20 | Mucosa | 65–77
Bone and cartilage | >30 | Bone and cartilage | >70
Muscle | >70 | Muscle | >70
From Rubin P. Law and order of radiation sensitivity: absolute versus relative. In: Vaeth JM, Meyer JL, eds. Frontiers of radiation therapy and oncology. Basel: Karger; 1989:7–40, with permission. |  |  | 
Parameters of Therapy: Tolerance Doses (TD5/5–TD50/5)